| ENTELSO PTY LTD Test Equipment — Annual Calibration Log | ASSET ID ENT-TEST-004 TX2152400189 |
| --- | --- |

| Kaelus iPA-0850A ¦ PIM Tester 850 MHz | Serial: TX2152400189 | Interval: 12 months |
| --- | --- | --- |

Complete one row each time the instrument is calibrated or serviced. Attach original certificate to this log.

| Date | Next Due | Cert / RMA No. | Performed By | Cost (excl. GST) | Notes / Findings |
| --- | --- | --- | --- | --- | --- |
| 04 July 2025 | 04 July 2026 | TX2152400189 | Kaelus Pty Ltd |  | Calibration only. All specifications met. |

| Entelso Pty Ltd ¦ Annual Calibration Log | Asset: ENT-TEST-004 ¦ Serial: TX2152400189 ¦ Issued: Jun 2026 |
| --- | --- |