| ENTELSO PTY LTD Test Equipment — Annual Calibration Log | ASSET ID ENT-TEST-002 AN1172500104 |
| --- | --- |

| Kaelus iVA-0627A ¦ Sweep Tester | Serial: AN1172500104 | Interval: 12 months |
| --- | --- | --- |

Complete one row each time the instrument is calibrated or serviced. Attach original certificate to this log.

| Date | Next Due | Cert / RMA No. | Performed By | Cost (excl. GST) | Notes / Findings |
| --- | --- | --- | --- | --- | --- |
| 14 November 2025 | 14 November 2026 | AN1172500104 | Kaelus Pty Ltd |  | Calibration only. All specifications met. |

| Entelso Pty Ltd ¦ Annual Calibration Log | Asset: ENT-TEST-002 ¦ Serial: AN1172500104 ¦ Issued: Jun 2026 |
| --- | --- |