CERTIFICATE OF DELIVERY

| DATE | 12/09/2023 |
| --- | --- |
| EQUIPMENT | CELLADVISOR BASE STATION ANALYZER – 4G LEVELLING KIT |

| ITEM | BRAND | MODEL | CANT | SERIAL NUMBER |
| --- | --- | --- | --- | --- |
| BLACK BAG | SAMSONITE | - | 1 | N/A |
| 4G/3G JDSU | JDSU | JD745A | 1 | EFB13937 |
| Power Supply | - | BPI060S18F02 | 1 | N/A |
| Levelling Adaptor 6 Ports | Andrew | N/A | 1 | 3728 |
| RCD Safety Switch | POWERTECH | MS-4044 | 1 | N/A |
| Coaxial Attenuator 30dBm/100W | RACOMTECH | ATS-100W-4-30-L | 1 | N/A |
| Load | RFI | - | 2 | SP000-6005 DIN |
| RF Coaxial -1MT | N-M to N-M | - | 1 | N/A |
| RF Coaxial -1MT | N-M to SMA-M | - | 1 | N/A |
| RF Coaxial-3MT | N-M to SMA-M | - | 1 | N/A |
| RF Coaxial | 7/16DIN-M to SMA-M |  | 3 | N/A |
| Adapter | N-M to SMA-F | - | 1 | N/A |
| Adapter | N-M to QMA-F | - | 1 | N/A |
| Adapter | N-M to QMA-F | - | 1 | N/A |
| Adapter | 4.3-10-M to N-F | - | 1 | N/A |
| Adapter | N-F to N-F | - | 2 | N/A |
| Adapter | SMA-M to SMA-F | - | 1 | N/A |
| Adapter | SMA-M to SMA-F | - | 1 | N/A |
| Adapter | SMA-M to SMA-M | - | 2 | N/A |
| Adjustable Wide Mouth Wrench | TROJAN | - | 1 | N/A |
| Screwdriver Phillips head | Stanley |  | 1 | N/A |
| Screwdriver Flat head | - |  | 1 | N/A |

COMMENT:

Any authorized representative who receives and utilize any ENTELSO equipment accepts full responsibility for the proper usage and maintenance, including transportation of the equipment under their possession.

| Date | Sender Name | Sender Signature | State | Date | Receiver Name | Receiver Signature | State | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |