CERTIFICATE OF DELIVERY

| DATE | 23/09/2024 |
| --- | --- |
| EQUIPMENT | CELL ADVISOR BASE STATION ANALYZER – 5G LEVELLING KIT |

| CANT | ITEM | BRAND-SERIAL | COMMENTS |
| --- | --- | --- | --- |
| 1 | 5G JDSU Analyzer | VIAVI CA5000 | Calibration Due: 12-Jan-2022 |
| 1 | Analyzer Power Charger | - | Test & Tag Due: 03/2025 |
| 1 | RF Coaxial Cable - 1MT | N-M to N-F | Good Conditions |
| 1 | RF Coaxial Cable - 1MT | N-F to SMA-M | Good Conditions |
| 1 | RF Coaxial Cable - 1MT | N-M to SMA-M | Good Conditions |
| 1 | RF Adapter | SMA-M to SMA-M | Good Conditions |
| 1 | RF Adapter | 4.3-10-F to N-M | Good Conditions |
| 1 | RF Adapter | N-F to SMA-F | Good Conditions |
| 2 | RF Adapter | N-M to QMA-F | Good Conditions |
| 2 | RF Adapter | N-F to N-F | Good Conditions |
| 1 | RF Adapter | SMA-M to SMA-F | Good Conditions |
| 1 | RF Adapter | DIN-F to 4.3-10-F | Good Conditions |
| 1 | RF Adapter | 4.3-10-M to N-F | Good Conditions |
| 1 | RF Adapter | DIN-M to N-F | Good Conditions |
| 1 | Black Bag | - | Good Conditions |